TRAY, ER TRACH/CRIC

| SPD Cnt | 1st Cnt | 2nd Cnt | FNL Cnt | Description | Comment |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | CUP, MEDICINE, 2 OZ |  |
| 1 |  |  |  | DILATOR, TRACHEAL, LABORDE, 5.5” |  |
| 4 |  |  |  | FORCEPS, HEMOSTATIC, HALSTED, CURVED, 5” |  |
| 1 |  |  |  | FORCEPS, TISSUE, ADSON, 4.5” |  |
| 1 |  |  |  | FORCEPS, TISSUE, ALLIS, 6” |  |
| 1 |  |  |  | FORCEPS, TISSUE, THUMB, 5.5” |  |
| 4 |  |  |  | FORCEPS, TOWEL, BACKHAUS, 3.5” |  |
| 1 |  |  |  | HANDLE, KNIFE, NO. 3 |  |
| 2 |  |  |  | HOLDER, FORCEPS, BUNT |  |
| 2 |  |  |  | HOOK, TRACHEAL, JACKSON TENACULUM, 5.25” |  |
| 1 |  |  |  | NEEDLEHOLDER, MAYO-HEGAR, 6.25” | T/C |
| 2 |  |  |  | RETRACTOR, ARMY/NAVY, 8.5” |  |
| 2 |  |  |  | RETRACTOR, SENN, DULL, 6.25” |  |
| 1 |  |  |  | SCISSORS, MAYO, CURVED, 6.75” | T/C |
| 1 |  |  |  | SCISSORS, MAYO, STRAIGHT, 6.75” | T/C |
| 20 |  |  |  | SPONGE, GAUZE, X-RAY DETECTABLE, 4X4” |  |
| 1 |  |  |  | SUCTION, FRAZIER, 10 FR |  |
| 4 |  |  |  | TOWEL, LINEN, GREEN, 17x26” |  |
| 1 |  |  |  | TRAY, MAYO, 13.75x9.75x0.75” |  |
|  |  |  |  | Place Outside Package After Sterilization |  |
| 1 |  |  |  | BLADE, NO. 11 |  |
| 1 |  |  |  | BLADE, NO. 15 |  |
| 1 |  |  |  | NEEDLE, DISPOSABLE, 21 GA, 1.5” |  |
| 1 |  |  |  | NEEDLE, DISPOSABLE, 23 GA, 1’’ |  |
| 1 |  |  |  | NEEDLE, DISPOSABLE, 27 GA, 1.25” |  |
| 1 |  |  |  | SHEET, DRAPE, DISPOSABLE, 3” FENESTRATION, 18x26” |  |
| 1 |  |  |  | SHEET, DRAPE, DISPOSABLE, NON-FENESTRATED, 18x26” |  |
| 1 |  |  |  | SUTURE, SILK, SIZE 0, FSL NEEDLE |  |
| 1 |  |  |  | SYRINGE, DISPOSABLE, 10 CC |  |
| 1 |  |  |  | TUBE, TRACHEAL, DISPOSABLE, SHILEY, CUFFED, NO. 6 |  |
|  |  |  |  | Notes |  |
|  |  |  |  | Line tray with linen towels ___ |  |
|  |  |  |  | Use 36X36” reusable wrapper, 1 EA |  |
|  |  |  |  | Sealed in plastic by ____________ |  |