TRAY, ER MAJOR CASE/RESUSCITATION

(INCLUDES EMER C-SECTION, DPL, DAMAGE CONTROL LAP, VASCULAR)

| SPD Cnt | 1st Cnt | 2nd Cnt | FNL Cnt | Description | Comment |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | BASKET, STERILIZATION, 15.0x10.5x3.5” |  |
| 1 |  |  |  | BOWL, SURGICAL SPONGE, 12 OZ |  |
| 1 |  |  |  | CUP, MEDICINE, 2 OZ |  |
| 2 |  |  |  | FORCEP, ARTERY, CARMALT, CURVED, 6.5” |  |
| 1 |  |  |  | FORCEPS, DRESSING, THUMB, 5.5” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, GEMINI, RIGHT ANGLE, 8” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, HALSTED, CURVED, 5” |  |
| 6 |  |  |  | FORCEPS, HEMOSTATIC, KELLY, CURVED, 5.5” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, KELLY, STRAIGHT, 5.5” |  |
| 4 |  |  |  | FORCEPS, HEMOSTATIC, KOCHER, STRAIGHT, 6” |  |
| 4 |  |  |  | FORCEPS, HEMOSTATIC, ROCHESTER-PEAN, 6.25” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, ROCHESTER-PEAN, 8” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, SCHNIDT, HALF-CURVED, 8” |  |
| 2 |  |  |  | FORCEPS, INTESTINAL, TURNER-BABCOCK, 9.5” |  |
| 2 |  |  |  | FORCEPS, SPONGE HOLDING, FOERSTER, 9.5” |  |
| 2 |  |  |  | FORCEPS, TISSUE, ADSON, 4.5” |  |
| 4 |  |  |  | FORCEPS, TISSUE, ALLIS, 6” |  |
| 1 |  |  |  | FORCEPS, TISSUE, CUSHING, 7” |  |
| 1 |  |  |  | FORCEPS, TISSUE, THUMB, 5.5” |  |
| 4 |  |  |  | FORCEPS, TOWEL, BACKHAUS, 3.5” |  |
| 2 |  |  |  | FORCEPS, TOWEL, BACKHAUS, 5.25” |  |
| 2 |  |  |  | FORCEPS, VASCULAR, DEBAKEY, 7.75” |  |
| 1 |  |  |  | HANDLE, KNIFE, NO. 3 |  |
| 1 |  |  |  | HANDLE, KNIFE, NO. 3L |  |
| 1 |  |  |  | NEEDLEHOLDER, MAYO-HEGAR, 6” | T/C |
| 1 |  |  |  | NEEDLEHOLDER, MAYO-HEGAR, 8” | T/C |
| 1 |  |  |  | RACK, INSTRUMENT, WEINSTEIN |  |
| 2 |  |  |  | RETRACTOR, ARMY/NAVY, 8.5” |  |
| 2 |  |  |  | RETRACTOR, PERINEAL, GELPI, 6.5” |  |
| 1 |  |  |  | RETRACTOR, RICHARDSON, 10” |  |
| 2 |  |  |  | RETRACTOR, VEIN, CUSHING, 8.5” |  |
| 1 |  |  |  | RETRACTOR, WEITLANER, 5.5” |  |
| 1 |  |  |  | RETRACTOR, WEITLANER, 6.5” |  |
| 1 |  |  |  | SCISSORS, MAYO, CURVED, 6.75” | T/C |
| 1 |  |  |  | SCISSORS, MAYO, STRAIGHT, 6.75” | T/C |
| 1 |  |  |  | SCISSORS, METZENBAUM, CURVED, 7” | T/C |
| 1 |  |  |  | SUCTION CANNULA, ABDOMINAL, POOLE, 23 FR |  |
| 1 |  |  |  | SUCTION CANNULA, ANDREWS-PYNCHON, 9.5” |  |
| 4 |  |  |  | TOWEL, LINEN, GREEN, 17x26” |  |
|  |  |  |  | Notes |  |
|  |  |  |  | Line tray with linen towels ___ |  |
|  |  |  |  | Use 36X36” reusable wrapper, 1 EA |  |
|  |  |  |  | Sealed in plastic by ____________ |  |