**TRAY, ER THORACOTOMY**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SPD Cnt | 1st Cnt | 2nd  Cnt | FNL Cnt | Description | Comment |
| 1 |  |  |  | BASKET, STERILIZATION, 15.0x10.5x3.5” |  |
|  |  |  |  |  |  |
|  |  |  |  | **Layer 1** |  |
| 1 |  |  |  | FORCEPS, TISSUE, CUSHING, 7” |  |
| 1 |  |  |  | HANDLE, KNIFE, NO. 3 |  |
| 1 |  |  |  | RETRACTOR, CHEST, TUFFIER, 2x1.75x6.5” |  |
| 1 |  |  |  | SCISSORS, MAYO, CURVED, 9” | T/C |
| 1 |  |  |  | SCISSORS, THORACIC, METZENBAUM, STRAIGHT, 9.25” | T/C |
|  |  |  |  |  |  |
|  |  |  |  | **Layer 2** |  |
| 1 |  |  |  | FORCEPS, AORTIC, DEBAKEY, 12.25” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, KELLY, STRAIGHT, 5.5” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, KOCHER, STRAIGHT, 6” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, MIXTER, RIGHT ANGLE, 8” |  |
| 2 |  |  |  | FORCEPS, HEMOSTATIC, ROCHESTER-PEAN, 8” |  |
| 1 |  |  |  | FORCEPS, THORACIC, DEBAKEY, 9.5” |  |
| 4 |  |  |  | FORCEPS, TOWEL, BACKHAUS, 5.25” |  |
| 1 |  |  |  | FORCEPS, VASCULAR, DEBAKEY, 7.75” |  |
| 1 |  |  |  | FORCEPS, VASCULAR, SATINSKY, 10.5” |  |
| 1 |  |  |  | KNIFE, STERNUM, LEBSCHE, 10” |  |
| 1 |  |  |  | MALLET, BONE, 3 LBS |  |
| 1 |  |  |  | NEEDLEHOLDER, MAYO-HEGAR, 8” | T/C |
| 2 |  |  |  | RETRACTOR, ARMY/NAVY, 8.5” |  |
| 1 |  |  |  | SCISSORS, MAYO, STRAIGHT, 6.75” | T/C |
|  |  |  |  |  |  |
|  |  |  |  | **Place Outside Package After Sterilization** |  |
| 2 |  |  |  | BLADE, NO. 10 |  |
|  |  |  |  |  |  |
|  |  |  |  | **Notes** |  |
|  |  |  |  | Line tray with linen towels \_\_\_ |  |
|  |  |  |  | Use 36X36” reusable wrapper, 1 EA |  |
|  |  |  |  | Sealed in plastic by \_\_\_\_\_\_\_\_\_\_\_\_ |  |